## SM2
# | Assumption/input | Unit | Bouldercombe | HornsdalePowerReserve | DalrympleNorth | VictorianBigBattery | Ballarat | Gannawarra | Bulgana | Wandoan | Wallgrove
1 | Unique Scenario Number | Integer | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
2 | Client name |  | Bouldercombe | HornsdalePowerReserve | DalrympleNorth | VictorianBigBattery | Ballarat | Gannawarra | Bulgana | Wandoan | Wallgrove
3 | Kick-Off Date |  | July_24 | Feb_24 | Feb_24 | Feb_24 | Feb_24 | Feb_24 | Feb_24 | Feb_24 | Feb_24
4 | Location | NEM region ID | QLD1 | SA1 | SA1 | VIC1 | VIC1 | VIC1 | VIC1 | QLD1 | NSW1
5 | Energy price forecast | BPC Scenario | Central | Central | Central | Central | Central | Central | Central | Central | Central
6 | FCAS price forecast | FCAS Scenario | Central | Central | Central | Central | Central | Central | Central | Central | Central
7 | start_date | date | 01/01/2024 | 01/02/2023 | 01/02/2023 | 01/02/2023 | 01/02/2023 | 01/02/2023 | 01/02/2023 | 01/02/2023 | 01/02/2023
8 | end_date | date | 01/01/2025 | 31/01/2024 | 31/01/2024 | 31/01/2024 | 31/01/2024 | 31/01/2024 | 31/01/2024 | 31/01/2024 | 31/01/2024
9 | Power capacity | MW | 50 | 150 | 30 | 300 | 30 | 25 | 20 | 100 | 50
10 | Initial energy capacity | MWh | July_24: 100
11 | Battery charging efficiency AC | decimal | 0.922 | 0.922 | 0.922 | 0.922 | 0.922 | 0.922 | 0.922 | 0.922 | 0.922
12 | Battery discharging efficiency AC | decimal | 0.922 | 0.922 | 0.922 | 0.922 | 0.922 | 0.922 | 0.922 | 0.922 | 0.922
13 | Battery RTE curve | boolean | bar: July_24 to Feb_24
14 | RTE curve dir
102 | Battery max charge from grid | MW | July_24: 50
15 | Battery charging power to capacity ratio | bar: July_24 to Feb_24
16 | Battery discharging power to capacity ratio | bar: July_24 to Feb_24
17 | SOC_max | bar: July_24 to Feb_24
18 | SOC_min |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | Maximum cycles per day | Cycles | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
20 | Maximum daily cycle spread 1 - current cycles | Cycles | 0.42 | 0.42 | 0.42 | 0.42 | 0.42 | 0.42 | 0.42 | 0.42 | 0.42
21 | Maximum daily cycle spread 1 - cycle restriction | Cycles | bar: July_24 to Feb_24
22 | Maximum daily cycle spread 2 - current cycles | Cycles | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
23 | Maximum daily cycle spread 2 - cycle restriction | Cycles | bar: July_24 to Feb_24
24 | Maximum daily cycle spread 3 - current cycles | Cycles | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65
25 | Maximum daily cycle spread 3 - cycle restriction | Cycles | bar: July_24 to Feb_24
26 | Maximum daily cycle spread 4 - current cycles | Cycles | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75
27 | Maximum daily cycle spread 4 - cycle restriction | Cycles | bar: July_24 to Feb_24
28 | Maximum daily cycle spread 5 - current cycles | Cycles | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
29 | Maximum daily cycle spread 5 - cycle restriction | Cycles | bar: July_24 to Feb_24
30 | Services Throughput Energy | % of enabled | bar: July_24 to Feb_24
31 | Services Throughput Raise1sec | % of enabled | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001
31 | Services Throughput Raise6sec | % of enabled | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001
32 | Services Throughput Raise60sec | % of enabled | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005
33 | Services Throughput Raise5min | % of enabled | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001
34 | Services Throughput RaiseReg | % of enabled | 0.186 | 0.186 | 0.186 | 0.186 | 0.186 | 0.186 | 0.186 | 0.186 | 0.186
35 | Services Throughput Lower1sec | % of enabled | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005
35 | Services Throughput Lower6sec | % of enabled | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005
36 | Services Throughput Lower60sec | % of enabled | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
37 | Services Throughput Lower5min | % of enabled | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0.0005
38 | Services Throughput LowerREG | % of enabled | 0.086 | 0.086 | 0.086 | 0.086 | 0.086 | 0.086 | 0.086 | 0.086 | 0.086
39 | Environmental costs LGC | scenario | Central | Central | Central | Central | Central | Central | Central | Central | Central
40 | Environmental costs STC | scenario | Central | Central | Central | Central | Central | Central | Central | Central | Central
41 | Distribution network service provider | DNSP | None | None | None | None | None | None | None | None | None
42 | Network tariff | Tariff code | None | None | None | None | None | None | None | None | None
43 | Retail margin on charge and discharge | % of throughput | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | Battery droop characteristic | decimal | 0.017 | 0.017 | 0.017 | 0.017 | 0.017 | 0.017 | 0.017 | 0.017 | 0.017
45 | Minimum average spread | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
46 | Maximum average spread | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | RREG minimum spread | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | RREG maximum spread | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 | FCAS Utilisation adjustment factor | decimal | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2
50 | DLF connection | kV | None | None | None | None | None | None | None | None | None
51 | Market Generator and Customer? | Yes/No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
52 | FCAS Causer Pays Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | Degradation | curve | BNRG_degradation_0.5C_1cyc.csv | BNRG_degradation_0.5C_1cyc.csv | BNRG_degradation_0.5C_1cyc.csv | BNRG_degradation_0.5C_1cyc.csv | BNRG_degradation_0.5C_1cyc.csv | BNRG_degradation_0.5C_1cyc.csv | BNRG_degradation_0.5C_1cyc.csv | BNRG_degradation_0.5C_1cyc.csv | BNRG_degradation_0.5C_1cyc.csv
54 | Energy discharge market registration | % of power capacity | bar: July_24 to Feb_24
55 | r1sec market registration | % of power capacity | 0.52 | 0.2 | 0.52 | 0.1 | 0.52 | 0.52 | 0.52 | 0.3 | 0.52
56 | r6sec market registration | % of power capacity | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52
57 | r60sec market registration | % of power capacity | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52
58 | r5min market registration | % of power capacity | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52
59 | Energy charge market registration | bar: July_24 to Feb_24
60 | l1sec market registration | % of power capacity | 0.3 | 0.1 | 0.5 | 0.05 | 0.5 | 0.52 | 0.52 | 0.15 | 0.3
61 | l6sec market registration | % of power capacity | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52
62 | l60sec market registration | % of power capacity | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52
63 | l5min market registration | % of power capacity | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52
64 | raise reg market registration | % of power capacity | 1 | 0.33333 | 1 | 0.16667 | 1 | 1 | 1 | 0.5 | 1
65 | lower reg market registration | % of power capacity | 1 | 0.33333 | 1 | 0.16667 | 1 | 1 | 1 | 0.5 | 1
66 | PPA Price | $/MWh
67 | PPA Update Period | years
68 | PPA offtake | % | None | None | None | None | None | None | None | None | None
69 | PPA start date | date | None | None | None | None | None | None | None | None | None
70 | PPA end date | date | None | None | None | None | None | None | None | None | None
71 | PPA load curve | MW | None | None | None | None | None | None | None | None | None
72 | PPA Load Obligation | Strict/Flexible | None | None | None | None | None | None | None | None | None
73 | SOC End of Day | None/MWh | None | None | None | None | None | None | None | None | None
74 | PPA load | bar: July_24 to Feb_24
75 | Curtailment | bar: July_24 to Feb_24
76 | Curtailment Profile | MW
77 | Battery connection point (BtM or FtM) |  | Ftm | Ftm | Ftm | Ftm | Ftm | Ftm | Ftm | Ftm | Ftm
78 | Co-location Generation Profile
79 | Connection size |  | 50 | 150 | 30 | 300 | 30 | 25 | 20 | 100 | 50
80 | DLF co-located generation |  | None | None | None | None | None | None | None | None | None
81 | Behind_meter | bar: July_24 to Feb_24
82 | Battery Replacement Threshold | % of remiaing capacity | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6
83 | NSP peak charge ratio | % of battery capacity | bar: July_24 to Feb_24
84 | Daylight shift | period | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
85 | G drive save | bar: July_24 to Feb_24
86 | G drive directory |  | None | None | None | None | None | None | None | None | None
87 | Tolling Risk Factor Activation | bar: July_24 to Feb_24
88 | Foresight Optimisation period | Running BESS model for a period X (i.e., num of DI s) | 576 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96
89 | Dispatch interval (DI) shifting | Number of DIs (e.g. 6 means 3 hrs if DI=0.5hr) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
90 | Price CSV File |  | QLD_prices_five_mins_2024_cleaned.csv | priceData30Min_SA1.csv | priceData30Min_SA1.csv | priceData30Min_VIC1.csv | priceData30Min_VIC1.csv | priceData30Min_VIC1.csv | priceData30Min_VIC1.csv | priceData30Min_QLD1.csv | priceData30Min_NSW1.csv
91 | Carbon pricing CSV File |  | carbon pricing Q4 2023_FtM.csv | carbon pricing Q4 2023_FtM.csv | carbon pricing Q4 2023_FtM.csv | carbon pricing Q4 2023_FtM.csv | carbon pricing Q4 2023_FtM.csv | carbon pricing Q4 2023_FtM.csv | carbon pricing Q4 2023_FtM.csv | carbon pricing Q4 2023_FtM.csv | carbon pricing Q4 2023_FtM.csv
92 | Marginal loss factor (MLF) CSV file |  | MLF_NoLosses.csv | MLF_GransolarDec23_NSW.csv | MLF_GransolarDec23_NSW.csv | MLF_GransolarDec23_NSW.csv | MLF_GransolarDec23_NSW.csv | MLF_GransolarDec23_NSW.csv | MLF_GransolarDec23_NSW.csv | MLF_GransolarDec23_NSW.csv | MLF_GransolarDec23_NSW.csv
93 | Distribution loss factor (DLF) CSV file |  | BNRG_DLF_2023.csv | BNRG_DLF_2023.csv | BNRG_DLF_2023.csv | BNRG_DLF_2023.csv | BNRG_DLF_2023.csv | BNRG_DLF_2023.csv | BNRG_DLF_2023.csv | BNRG_DLF_2023.csv | BNRG_DLF_2023.csv
94 | DNSP tarrif CSV file |  | BNRG_DNSP tariff.csv | BNRG_DNSP tariff.csv | BNRG_DNSP tariff.csv | BNRG_DNSP tariff.csv | BNRG_DNSP tariff.csv | BNRG_DNSP tariff.csv | BNRG_DNSP tariff.csv | BNRG_DNSP tariff.csv | BNRG_DNSP tariff.csv
95 | Causer pays for FCAS CSV file |  | BNRG_Causer_pays_for_FCAS.csv | BNRG_Causer_pays_for_FCAS.csv | BNRG_Causer_pays_for_FCAS.csv | BNRG_Causer_pays_for_FCAS.csv | BNRG_Causer_pays_for_FCAS.csv | BNRG_Causer_pays_for_FCAS.csv | BNRG_Causer_pays_for_FCAS.csv | BNRG_Causer_pays_for_FCAS.csv | BNRG_Causer_pays_for_FCAS.csv
96 | Demand CSV file |  | BNRG_QLD_RefYear_2019_Neutral_POE10_OPSO.csv | BNRG_QLD_RefYear_2019_Neutral_POE10_OPSO.csv | BNRG_QLD_RefYear_2019_Neutral_POE10_OPSO.csv | BNRG_QLD_RefYear_2019_Neutral_POE10_OPSO.csv | BNRG_QLD_RefYear_2019_Neutral_POE10_OPSO.csv | BNRG_QLD_RefYear_2019_Neutral_POE10_OPSO.csv | BNRG_QLD_RefYear_2019_Neutral_POE10_OPSO.csv | BNRG_QLD_RefYear_2019_Neutral_POE10_OPSO.csv | BNRG_QLD_RefYear_2019_Neutral_POE10_OPSO.csv
97 | Curtailment profile CSV file
98 | Residential Load profile CSV file
99 | AEMO and Market Fees and Charges CSV file |  | AEMO and Market Fees and Charges_2023.csv | AEMO and Market Fees and Charges_2023.csv | AEMO and Market Fees and Charges_2023.csv | AEMO and Market Fees and Charges_2023.csv | AEMO and Market Fees and Charges_2023.csv | AEMO and Market Fees and Charges_2023.csv | AEMO and Market Fees and Charges_2023.csv | AEMO and Market Fees and Charges_2023.csv | AEMO and Market Fees and Charges_2023.csv
100 | BESS Tolling Risk Factor CSV file
101 | Residential Load | bar: July_24
1